## Slide 1: Compressed Sensing
Corso di Laurea Magistrale in Ingegneria Biomedica Dipartimento di Ingegneria dell’Informazione, Università di Pisa
Lezioni per il corso “Metodi per l’analisi dei Segnali Multidimensionali”
Prof. Luigi Landini
AA 2015-2016
Giuseppe Valvano
giuseppe.valvano@for.unipi.it

## Slide 2: Image compression

## Slide 3: Compression chain
Acquisition
Source
Processing
Compression/Storing
Spectrum Sparsity
Fourier transform
Wavelet transform
K-space acquisition
MR chain
Signal chain
Sampling
Inverse Fourier transform
Wavelet sparsity

## Slide 4: Compressed sensing

## Slide 5: Conventional sampling Sampling as linear projection
Typically, each point in the K-Space is a Projection of the object (one row of the matrix A)
Compressed sensing (compression during acquisition) reduces the number of projections, thus reducing the acquisition time.

## Slide 6: Compressed sensing
1?
2?
Undersampling the k-space

## Slide 7: Dense to sparse relationship
y
=
x
A
=
A
=
A
Data
Trnsformation
Matrix
Sparse domain
Frequency sparsity
Wavelet
sparsity
A è diversa nei due casi

## Slide 8: Where to undersample?
We must acquire the signal in a “dense” domain (time for spectrum sparsity / K-space for image-wavelet sparsity) using an undersampled acquisition matrix to reduce the samples number.
…in the time domain for sparsity in the spectrum domain
…in the K-space domain for sparsity in the wavelet domain

## Slide 9: Examples of Undersampled Acquisition Matrix
y
=
x
A
Data
Undersampled
Acquisition
Matrix
Sparse domain
Frequency sparsity: A = subset of rows of FH
Wavelet sparsity: B = subset of rows of F
F = Fourier Matrix (Discrete Fourier transform)
FH = Inverse Fourier Matrix
y
=
x
A
the acquisition and the sparse transformations must be almost uncorrelated
 = Wavelet transform
 H = Inverse Wavelet transform

## Slide 10: 1) How to Undersample: Equispaced undersampling
Blue: spectrum at Nyquist sampling
Equispaced undersampling leads to coherent aliasing

## Slide 11
K-Space
Point Spread Function (PSF)
defined in the image domain
Equispaced undersampling PSF
Apply inverse FFT to the undersampling mask (red lines)
Regular undersampling in one direction
Undersampling mask

## Slide 12: Image formation with equispaced undersampling PSF
Conv(.)
the PSF is convolved with the image
Coherent Aliased image
Since the PSF is convolved with the image, there should be a Toeplitz matrix that represents the PSF

## Slide 13: Random undersampling

## Slide 14: Random undersampling
Red: Inchoerent aliasing (much similar to the true spectrum)

## Slide 15: Random undersampling 1
K-Space
Image
Random undersampling leads to incoherent aliasing
PSF
Red: acquisition matrix
Acquisition Point Spread Function (PSF)

## Slide 16: Random undersampling 2
K-Space
PSF
Image
Random undersampling leads to incoherent aliasing

## Slide 17: How to check incoherence?
A is a full acquisition matrix

## Slide 18: How to check incoherence?
Equispaced undersampling leads to high correlations between the columns of the Acquisition Matrix A.
Real(A)
Imag(A)

## Slide 19: How to check incoherence?
Random undersampling
minimize the correlations in this matrix.
Real(A)
Imag(A)
abs(AHA)

## Slide 20: How to check incoherence?
A good way to characterize the matrix A is to evaluate the acquisition coherence:
This is equal to the max value of AHA outside its main diagonal.
So we should minimize the correlations between the columns of A.

## Slide 21: 2) Reconstruction/Signal recovery
Least squares term
Data consistency
Enforce
sparsity of x
Chose, among all the solutions x consistent with the data y, the solution representable with less coefficients. Computationally convenient formulation (images):

## Slide 22: Signal Recovery
Convex Optimization
Problem

## Slide 23: Example of algorithm: Iterative Soft Thresholding (ISTA)

## Slide 24: Examples: 2D cine MRI
4x Undersampled,
after CS reconstruction
Fully sampled

## Slide 25: Examples: 4D flow MRI
8x Undersampled,
after CS reconstruction
Fully sampled
here, only one slice is shown

## Slide 26: Applications
Magnetic Resonance Imaging:
  reducing the scan time
  improving the resolution (in time and in space)
Computer Tomography:
  reducing the dose
Photo-Acoustic Tomography:
  reducing the number of projections
EEG / ECG ultra low power sensing:
  reducing the number of leads
  reducing the amount of transferred data