## Slide 1: History of clinical ultrasounds
Douglass Howry 1958
From the beginning

## Slide 2
A. Ramalli, G. Matrone, P. Tortoli. Nuove tecnologie per ecografia ad ultrasuoni: da 2D a 4D. Scuola di Bioingegneria, Bressanone, 2018

## Slide 3: Array and Matrix piezoelectric transducers
Crystal miniaturization

## Slide 4
Matrix transducer
Matrix transducer

## Slide 6
Trasduttore transesofageo

## Slide 7
Focalization
Focalization & Steering

## Slide 8: Focusing
Matrix of elements
Beam steering in three dimensions
Focalization in the image plane and outside the image plane
Matrix Transducers
Focalization
Near field
Far field
Matrix

## Slide 9: A-Scan
A-Scan (Amplitude scan)
Gives no photo image
Pulses of ultrasound sent into the body, reflected ultrasound is detected and appear as vertical spikes on a CRO screen.
The horizontal positions of the ‘spikes’ indicate the time it took for the wave to be reflected.
Commonly used to measure size of foetal head.

## Slide 10: Ultrasound Simulation
Different depths or densities produce different intensities
boundaries

## Slide 14
Specular (vessels, cardiac cavity, epicardium)
Scattering (capillars, myocardial fiber,…)
Ultrasound-tissue interaction
Specular vs scattering

## Slide 15: Reflected Echo’s
Strong reflections = white dots
Weaker reflections = grey dots

## Slide 17: Reflected Echo’s
No Reflections = Black dots
  Fluid within a cyst, urine, blood
  ‘Hypoechoic’ or echofree

## Slide 19: 4D ultrasound

## Slide 20: 4D ultrasound